## Slide 1
Parameter measured | Description
Soil Moisture | Dielectric constant measuring device. Measurements are at 2, 4, 8, 20 and 40” depths where possible.
Soil Temperature | Encapsulated thermistor. Measurements are at 2, 4, 8, 20 and 40” depths where possible.
Precipitation | Tipping bucket rain gauge
Air Temperature | Shielded thermistor
Relative Humidity | Thin film capacitance type sensor
Wind Speed/Direction | Propeller-type anemometer
Solar radiation | Pyranometer
Snow Water Equivalent | Snow pillow device and pressure transducer (not all stations)
Snow Depth | Sonic sensor (not all stations)